## NOTES
The following are notes that should be read prior to making any changes to the AVL data to prevent the data link breaking between the spreadsheet and Power BI.
- Do NOT rename the spreadsheet.
- Do NOT rename the AVL tab.
- Do NOT rename, reconfigure, or change in any way any of the column headings. Even an inadvertent space added can break the link.
- Do NOT move the spreadsheet from the location in SG&I SharePoint it is stored in.
- The AVL tab has been protected without a password. Be cautious when unprotecting to make updates taking note of the above limitations.
If any of the actions above occur, the link between SharePoint and the Power BI will be broken. If you need to update a column header, change the name, etc., then contact Stacey Duvic's group so they can take appropriate action to reconnect the link.
- The AVL spreadsheet currently includes Renewables; however, the Power BI, PMM2170, and AVL Management do not include Renewables. We want to leave the renewable rows in the spreadsheet in case it is decided to include them in the processes in the future.

## AVL
Section A.18
Approved Vendor List (AVL)
Equipment | Approved Supplier | Clarifications or Restrictions
Actuators (Motor Operated Valves) | Auma
Actuators (Motor Operated Valves) | Betis
Actuators (Motor Operated Valves) | EIM
Actuators (Motor Operated Valves) | Limitorque
Actuators (Motor Operated Valves) | Rotork
Actuators (Motor Operated Valves) | Universal Valve
Air Cooled Heat Exchangers (Fin Fan Cooler) | Alfa Laval
Air Cooled Heat Exchangers (Fin Fan Cooler) | GEA
Air Cooled Heat Exchangers (Fin Fan Cooler) | Hayden Industries
Air Cooled Heat Exchangers (Fin Fan Cooler) | SPX Cooling Technologies
Air Cooled Heat Exchangers (Fin Fan Cooler) | Marley
Aqueous Ammonia System | Aether.dbs
Aqueous Ammonia System | Chemithon
Aqueous Ammonia System | Johnson March Systems, Inc.
Aqueous Ammonia System | Global Chem Feed
Aqueous Ammonia System | Integrated Flow Solution
Aqueous Ammonia System | Wahlco
Aqueous Ammonia System | Vector Systems, Inc.
Attemperators (HP and HRH Desuperheaters) | Control Components Inc. (CCI)
Attemperators (HP and HRH Desuperheaters) | Fisher
Attemperators (HP and HRH Desuperheaters) | KOSO
Attemperators (HP and HRH Desuperheaters) | Schutte & Koerting
Auxiliary Cooling Tower | ATS
Auxiliary Cooling Tower | Evaptech
Auxiliary Cooling Tower | Hamon / Research Cottrell
Auxiliary Cooling Tower | International Cooling System
Auxiliary Cooling Tower | Research Cottrell Cooling
Auxiliary Cooling Tower | SPX-Marley
Auxiliary Cooling Tower | Evapco
Batteries, Chargers | See UPS System
Bus, lso-Phase | Alstom
Bus, lso-Phase | Hitachi
Bus, lso-Phase | Alfa Standard
Bus, lso-Phase | Crown Electric
Bus, lso-Phase | GE
Bus, lso-Phase | AZZ Calvert
Bus, lso-Phase | Techibus (formerly ABB)
Bus, Non-segregated Phase | AZZ Calvert
Bus, Non-segregated Phase | Techibus (formerly ABB)
Bus, Non-segregated Phase | Cape Electric
Bus, Non-segregated Phase | Square D
Bus, Non-segregated Phase | GE
Bus, Non-segregated Phase | ABB
Bus, Non-segregated Phase | Cutler-Hammer (Eaton)
Cathodic Protection | Accurate Corrosion Control
Cathodic Protection | BK Corrosion
Cathodic Protection | Corrpro
Cathodic Protection | JDH Corrosion Consultants
Cathodic Protection | Matcor
CCVT 69kV - 500kV | Ritz
CCVT 69kV - 500kV | GE
CCVT 69kV - 500kV | Trench
CCVT 69kV - 500kV | Hitachi Energy
Chemical Feed Pumps | Prominent
Chemical Feed Pumps | Pulsafeeder
Chemical Feed Pumps | US Water
Chemical Feed Pumps | Reetex
Chemical Feed Pumps | Sigma
Chemical Feed Pumps | Milton Roy/LMI
Chemical Feed Pumps | Global Chem Feed
Chemical Feed Pumps | Johnson March Systems, Inc.
Chillers | Trane
Chillers | Carrier
Chillers | Stellar
Chillers | Turbine Air Systems
Chillers | York
Chromatograph | Siemens
Chromatograph | Yokogawa
Chromatograph | AC Systems Integration
Chromatograph | Agilent Technologies
Chromatograph | Daniel
Chromatograph | Rosemount Analytical (Emerson)
Chromatograph | ABB
Circuit Breakers, 15 kV - 34.5 kV | MEPPI
Circuit Breakers, 15 kV - 34.5 kV | ABB
Circuit Breakers, 69 kV - 245kV (Dead Tank) | Siemens
Circuit Breakers, 69 kV - 245kV (Dead Tank) | MEPPI
Circuit Breakers, 69 kV - 245kV (Dead Tank) | Hitachi Energy
Circuit Breakers, 69 kV - 245kV (Dead Tank) | HICO
Circuit Breakers, 69 kV - 245kV (Live Tank) | Hitachi Energy
Circuit Breakers, 69 kV - 245kV (Live Tank) | Siemens
Circuit Breakers, 345 kV - 500kV (Dead Tank) | Siemens
Circuit Breakers, 345 kV - 500kV (Dead Tank) | HICO
Circuit Breakers, 345 kV - 500kV (Dead Tank) | MEPPI
Circuit Breakers, 345 kV - 500kV (Live Tank) | Hitachi Energy
Circuit Breakers, 345 kV - 500kV (Live Tank) | Siemens
Coatings | Ameron
Coatings | Carboline
Coatings | PPG
Coatings | Sherwin Williams
Coatings | Thenec
Communications Equipment | Gai-tronics
Communications Equipment | Motorola
Communications Equipment | RFIP, Inc.
Compressors, Air-Screw Type Oil-less Rotary | Kaeser Compressors
Compressors, Air-Screw Type Oil-less Rotary | Sullair
Compressors, Air-Screw Type Oil-less Rotary | Gardner Denver
Compressors, Air-Screw Type Oil-less Rotary | Atlas Copco
Compressors, Air-Screw Type Oil-less Rotary | Ingersoll-Rand
Compressors, Air-Screw Type Oil-less Rotary | Kobelco
Compressors, Gas | Atlas Copco Comptec, LLC
Compressors, Gas | Siemens Energy
Compressors, Gas | Solar Turbines International Co.
Compressors, Gas | Mitsubishi Heavy Industries
Compressors, Gas | Kobelco Compressors America, Inc.
Compressors, Gas | Elliott
Concrete | Local read-mix company(ies) | To be mutually agreed upon by Seller and Buyer
Condenser | SPG
Condenser | American Exchanger Services
Condenser | Holtec
Condenser | Foster Wheeler
Condenser | Godrej
Condenser | Maarky Thermal Systems
Condenser | TEI
Continuous Emissions Monitoring (CEMS) | Altech
Continuous Emissions Monitoring (CEMS) | Cemtek Environmental
Continuous Emissions Monitoring (CEMS) | Cherokee Instruments
Continuous Emissions Monitoring (CEMS) | Custom Instrumentation Services (CISCO)
Continuous Emissions Monitoring (CEMS) | ESC (Environmental Systems Corporation)
Continuous Emissions Monitoring (CEMS) | MSI
Continuous Emissions Monitoring (CEMS) | Spectrum Systems
Continuous Emissions Monitoring (CEMS) | Teledyne - Monitor Labs
Continuous Emissions Monitoring (CEMS) | Thermo Environmental (CEMS Analyzers)
Control Drives - Electric | Beck
Control Drives - Electric | ABB
Control Drives - Electric | Universal Valve
Cooling Tower | Evaptech
Cooling Tower | International Cooling Tower (ICT)
Cooling Tower | Karrena
Cooling Tower | NEXT Cooling
Cooling Tower | SPX
Couplings | Falk
Couplings | Kap-Flex
Couplings | Rexnord
Couplings | Thomas
Couplings | Zurn
Cranes | Accent Sales & Service Co.
Cranes | ACCO
Cranes | American Crane
Cranes | CRS Crane Systems
Cranes | Demag
Cranes | Ederer
Cranes | Kone
Cranes | Kranco
Cranes | Mid-Atlantic Crane & Equip.
Cranes | P&H
Cranes | Terex Services
Cranes | Virginia Crane
Cranes | Whiting
DCS (Distributed Control Systems) | Emerson Process Management | Ovation System
Drives, Variable Speed Fluid Coupling | Howden Power
Drives, Variable Speed Fluid Coupling | Philadelphia Gear
Drives, Variable Speed Fluid Coupling | Voith
Dry-Type Reactors | Coil Innovations
Dry-Type Reactors | Trench
Duct Burner Flame Scanners | Forney
Duct Burner Flame Scanners | Coen
Duct Expansion Joints | Cembell Industries
Duct Expansion Joints | Bachmann
Duct Expansion Joints | Flexonics - Pathway Div
Duct Expansion Joints | Frenzelilt
Duct Expansion Joints | KE Burgmann (IAFD)
Duct Expansion Joints | PAPCO Industries
Expansion Joints, Non-Metallic | Mercer Rubber
Expansion Joints, Non-Metallic | Norflex
Expansion Joints, Non-Metallic | Pathway
Expansion Joints, Non-Metallic | RM Industrial Products
Expansion Joints, Non-Metallic | Proco
Fans | Baron
Fans | Chicago Blower
Fans | Clarage
Fans | Howden
Fans | Robinson
Fans | TLT- Babcock
Filters, Slurry, Vacuum Dewatering | Eimco Water Technologies
Filters, Slurry, Vacuum Dewatering | Komline Sanderson
Fire Detection Systems | ANSUL
Fire Detection Systems | Chemetron
Fire Detection Systems | Cybercat
Fire Detection Systems | Fenwal
Fire Detection Systems | Fike
Fire Detection Systems | Gamewell
Fire Detection Systems | Honeywell - Notifier
Fire Detection Systems | Kidde
Fire Detection Systems | Protectowire
Fire Detection Systems | Siemens - Cerberus Pyrotronics
Fire Detection Systems | Simplex Grinnell
Fire Protection Systems | Summit Fire Protection
Fire Protection Systems | VFP Fire Systems
Fire Protection Systems | American Fire Technologies
Fire Protection Systems | Continental
Fire Protection Systems | FE Moran
Fire Protection Systems | Janus Fire Systems
Fire Protection Systems | Shambaugh and Sons
Fire Protection Systems | Wayman Fire Protection
Fire Protection Systems | Wolverine Fire Protection
Fittings, Compression Type, Tube | Cumberland Valve and Fitting
Fittings, Compression Type, Tube | James C. White
Fittings, Compression Type, Tube | O'Brien Corporation
Fittings, Compression Type, Tube | Swagelok
Fittings, Compression Type, Tube | Parker
Fuel Gas Electric Startup Heaters | Chromalox
Fuel Gas Electric Startup Heaters | Envirosep
Fuel Gas Electric Startup Heaters | Gaumer
Fuel Gas Electric Startup Heaters | Watlow
Fuel Gas Electric Startup Heaters | Gastech
Fuel Gas Electric Startup Heaters | Aether.dbs
Fuel Gas Electric Startup Heaters | Integrated Flow Solutions
Fuel Gas Electric Startup Heaters | Sigma Thermal
Fuel Gas Electric Startup Heaters | Texas Systems & Controls, Inc.
Fuel Gas Separator/Filter | Texas Systems & Controls, Inc.
Fuel Gas Separator/Filter | Aether.dbs
Fuel Gas Separator/Filter | Anderson
Fuel Gas Separator/Filter | Control Center LLC
Fuel Gas Separator/Filter | Gaumer Process
Fuel Gas Separator/Filter | Mitten Manufacturing
Fuel Gas Separator/Filter | PECO (The Blythe Company)
Fuel Gas Separator/Filter | Peerless Manufacturing Co.
Fuel Gas Separator/Filter | Integrated Flow Solution
Fuel Gas Separator/Filter | Gastech
Fuel Gas Startup Heaters, Water Bath | Sigma Thermal
Fuel Gas Startup Heaters, Water Bath | Heat Exchanger Design
Fuel Gas Startup Heaters, Water Bath | Newpoint Therma
Fuel Gas Startup Heaters, Water Bath | Thermal Engineering International (TEI)
Fuel Gas Startup Heaters, Water Bath | Aether.dbs
Fuel Gas Startup Heaters, Water Bath | Gastech
Fuel Gas Startup Heaters, Water Bath | Exotherm Corporation
Gas Turbine Generator | Siemens Energy
Gas Turbine Generator | GE Vernova
Gas Turbine Generator | Mitsubishi Hitachi Power Systems (MHPSA)
Grating and Stair Tread | American Grating
Grating and Stair Tread | Carolina Grating Co.
Grating and Stair Tread | Fisher & Ludlow
Grating and Stair Tread | IKG Industries
Grating and Stair Tread | Klemp Corp
Grating and Stair Tread | Ohio Gratings
Grating and Stair Tread | Seasafe, Inc.
Grout, Cementitious | Five Star
Grout, Cementitious | Unisorb Industrial Grout
Grout, Cementitious | Chemrex MBT Embeco
Grout, Cementitious | Masterflow
Grout, Epoxy | Five Star
Grout, Epoxy | Chemrex MBT Masterflow
Heat Exchangers, Plate & Frame | API Heat Transfer
Heat Exchangers, Plate & Frame | Mueller
Heat Exchangers, Plate & Frame | Graham
Heat Exchangers, Plate & Frame | SPX Heat Transfer, Inc.
Heat Exchangers, Plate & Frame | ITT Standard
Heat Exchangers, Plate & Frame | GEA/PHE
Heat Exchangers, Plate & Frame | Tranter
Heat Exchangers, Plate & Frame | Tranter PHE
Heat Exchangers, Plate & Frame | Viex/GEA
Heat Exchangers, Plate & Frame | Yuba
Heat Exchangers, Plate & Frame | Cembell Industries
Heat Exchangers, Plate & Frame | Alfa Laval
Heat Exchangers, Plate & Frame | APV
Heat Exchangers, Shell & Tube | Holtec
Heat Exchangers, Shell & Tube | ITT Standard
Heat Exchangers, Shell & Tube | SPX Heat Transfer, Inc.
Heat Exchangers, Shell & Tube | Yuba
Heat Exchangers, Shell & Tube | Atlas Industries
Heat Exchangers, Shell & Tube | Doyle & Roth
Heat Exchangers, Shell & Tube | Manning & Lewis
Heat Exchangers, Shell & Tube | Steele
Heat Exchangers, Shell & Tube | Thermal Engineering International (TEI)
Heat Exchangers, Shell & Tube | Struthers - TEI
Heat Recovery Steam Generator (HRSG) | AE&E Group
Heat Recovery Steam Generator (HRSG) | John Cockrell (CMI)
Heat Recovery Steam Generator (HRSG) | NEM
Heat Recovery Steam Generator (HRSG) | Nooter-Eriksen
Heat Recovery Steam Generator (HRSG) | Vogt Power
Heat Recovery Steam Generator (HRSG) | Hitachi
Heat Recovery Steam Generator (HRSG) | Forney
Heat Recovery Steam Generator (HRSG) | Foster Wheeler
Heat Tracing | Bartec
Heat Tracing | Thermon
Heat Tracing | Tracer Construction, LLC
Heat Tracing | Tyco/Raychem HTS
Heat Tracing | Newtron Heat Trace
Heat Tracing | Nelson
Heat Tracing | Chromalox
Instrument Flow Nozzles | Daniel Industries
Instrument Flow Nozzles | Fluidic Techniques
Instrument Flow Nozzles | Triad Measurement
Instrument Panels | Harlo
Instrument Panels | Hatch Inc.
Instrument Panels | Honeywell
Instrument Panels | Johnson Controls
Instrument Panels | Mercury Co.
Instrument Panels | Southern Instruments
Instrumentation - Misc Valves & Fittings | Kaw Valve and Fitting
Instrumentation - Misc Valves & Fittings | Cumberland Valve and Fitting
Instrumentation - Misc Valves & Fittings | James C. White
Instrumentation - Misc Valves & Fittings | O'Brien Corporation
Instrumentation - Misc Valves & Fittings | Rosemount Analytical (Emerson)
Instrumentation - Misc Valves & Fittings | Swagelok
Instruments, Flow Element, Orifice Plates | Fluidic Techniques
Instruments, Flow Element, Orifice Plates | Triad Measurement
Instruments, Flow Element, Orifice Plates | Emerson Process Management
Instruments, Flow Element, Orifice Plates | Endress & Hauser
Instruments, Flow Element, Orifice Plates | FTI Industries
Instruments, Flow Element, Orifice Plates | Primary Flow Signal, Inc.
Instruments, Flow Element, Orifice Plates | Daniel Industries
Instruments, Flow Element, Orifice Plates | Schneider Electric (Foxboro)
Instruments, Flow Element, Orifice Plates | Yokogawa
Instruments, Flow Switch and Indicator type | Magnetrol
Instruments, Flow Switch and Indicator type | UFM (Universal Flow Monitors)
Instruments, Flow Switch and Indicator type | John H. Carter
Lighting Fixtures | Appleton
Lighting Fixtures | Cooper-Crouse Hinds
Lighting Fixtures | Holophane-Petrolux
Lighting Fixtures | Lithonia
Lighting Fixtures | GE
Lightning Protection | A/C Lightning Protection
Lightning Protection | Harger Lightning Protection
Lightning Protection | Lightning Elimination Consultants
Lightning Protection | VFC/Lightning Protection Systems
Limit Switches | GO (Proximity type)
Limit Switches | Magnetrol
Limit Switches | Namco Controls
Limit Switches | Pepperill & Fuchs (Proximity type)
Limit Switches | Pinnacle Controls
Limit Switches | Snap-Lock (Mechanical type)
Limit Switches | SOR
Limit Switches | John H. Carter
Linings, alloy | Haynes lnt'I
Linings, alloy | Rolled Alloy Corp
Linings, alloy | Special Metals Corp
Linings, alloy | VDM
Linings, clad | Dupont
Linings, clad | Industeel
Linings, clad | Lukens Steel
Linings, clad | Rocky Mountain Fabricators
Linings, rubber | ARDCO
Linings, rubber | Goodrich
Linings, rubber | Goodyear
Linings, tile | Stebbins
MCCs (MV) and Switchgear | POWERCON
MCCs (MV) and Switchgear | ABB
MCCs (MV) and Switchgear | GE
MCCs (MV) and Switchgear | Siemens
MCCs (MV) and Switchgear | Cutler-Hammer (Eaton)
MCCs (MV) and Switchgear | M&I Electric
MCCs (MV) and Switchgear | Southern Power
MCCs 480VAC (Low Voltage) and Switchgear | Cutler-Hammer (Eaton)
MCCs 480VAC (Low Voltage) and Switchgear | M&I Electric
MCCs 480VAC (Low Voltage) and Switchgear | Southern Power
MCCs 480VAC (Low Voltage) and Switchgear | ABB
MCCs 480VAC (Low Voltage) and Switchgear | Allen-Bradley
MCCs 480VAC (Low Voltage) and Switchgear | GE
MCCs and Switchgear | Cresent Power Systems
Monitors, Vibration | Alta Solutions
Monitors, Vibration | Bentley-Nevada (GE)
Motors, Medium Voltage | Electric Machinery
Motors, Medium Voltage | Hyundai
Motors, Medium Voltage | TECO-Westinghouse
Motors, Medium Voltage | Toshiba
Motors, Medium Voltage | US Electrical
Motors, Medium Voltage | WEG Industries
Motors, Medium Voltage | ABB
Motors, Medium Voltage | GE
Motors, Medium Voltage | Siemens
Oil Water Separators | Highland Tank
Oil Water Separators | Great Lake International
Oil Water Separators | McTighe Industrial
Oil Water Separators | PS International
PDCs, Power Distribution Centers Bldgs | Cape Electric/Graybar
PDCs, Power Distribution Centers Bldgs | Crown Technical Systems
PDCs, Power Distribution Centers Bldgs | ESS Metron
PDCs, Power Distribution Centers Bldgs | Kiewit Off Shore (KOS)
PDCs, Power Distribution Centers Bldgs | Point Eight
PDCs, Power Distribution Centers Bldgs | Volta
PDCs, Power Distribution Centers Bldgs | ABB
PDCs, Power Distribution Centers Bldgs | M&I Electric
PDCs, Power Distribution Centers Bldgs | Cresent Power Systems
Pipe Supports | Anvil International
Pipe Supports | Bergen Power
Pipe Supports | Lisega
Pipe Supports | Piping Technologies and Products
Protective Relays | Basler
Protective Relays | Beckwith
Protective Relays | SEL (Schweitzer Engineering Laboratories)
Protective Relays | ABB
Protective Relays | Siemens
Protective Relays | Alstom
Protective Relays | GE
Protective Relays | Toshiba
Pumps, Boiler Feed | Flowserve
Pumps, Boiler Feed | Sulzer Pumps
Pumps, Boiler Feed | KSB
Pumps, Boiler Feed | Torishima
Pumps, Circulating Water | Flygt-Xylem
Pumps, Circulating Water | Goulds
Pumps, Circulating Water | KSB
Pumps, Circulating Water | Sulzer Pumps
Pumps, Circulating Water | Flowserve
Pumps, Circulating Water | Hyundai
Pumps, Circulating Water | Torishima
Pumps, Condensate | Flowserve
Pumps, Condensate | Goulds
Pumps, Condensate | Hyundai
Pumps, Condensate | KSB
Pumps, Condensate | Sulzer Pumps
Pumps, Condensate | Torishima
Pumps, Fire Protection | Phoenix Pump
Pumps, Fire Protection | Caterpillar
Pumps, Fire Protection | Cummins
Pumps, Fire Protection | Aurora
Pumps, Fire Protection | Engines
Pumps, Fire Protection | Fairbanks Morse Controllers
Pumps, Fire Protection | John Deere
Pumps, Fire Protection | Patterson
Pumps, Fire Protection | Peerless
Pumps, Fire Protection | Ruhrpumpen
Pumps, Fire Protection | SPP Pumps
Pumps, Fire Protection | Xlyem-Flowtronix
Reinforcing Steel (Rebar) - Fabricated | Ambassador Steel
Reinforcing Steel (Rebar) - Fabricated | Barker Steel
Reinforcing Steel (Rebar) - Fabricated | CMC Rebar
Reinforcing Steel (Rebar) - Fabricated | Gerdau
Reinforcing Steel (Rebar) - Fabricated | Gerdau Ameristeel
Reinforcing Steel (Rebar) - Fabricated | Harris Rebar
Reinforcing Steel (Rebar) - Fabricated | JMN Rebar Installation
Reinforcing Steel (Rebar) - Fabricated | LB Construction Enterprises
Reinforcing Steel (Rebar) - Fabricated | RESCO
Reinforcing Steel (Rebar) - Fabricated | SMI
Reinforcing Steel (Rebar) - Fabricated | Tie Steel
Reinforcing Steel (Rebar) - Fabricated | Whaley Constructors, LLC
Relay Panel OEMs | Control Center LLC
Relay Panel OEMs | Electrical Power Products
Relay Panel OEMs | Keystone Electrical
Relay Panel OEMs | SEL (Schweitzer Engineering Laboratories)
Relay Panel OEMs | Western Control Systems
Relay Panel OEMs | Crown Technical Systems
RTDs, Instruments | Minco
RTDs, Instruments | Rosemount Analytical (Emerson)
RTDs, Instruments | Temp-Pro
RTDs, Instruments | Gulf Sensors
RTDs, Instruments | Johnson March Systems, Inc.
Sampling Systems | Waters Equipment
Sampling Systems | Sentry
Sampling Systems | Johnson March Systems, Inc.
Selective Catalyst Reduction (SCR), Catalyst | Cormatech
Selective Catalyst Reduction (SCR), Catalyst | Umicore
Selective Catalyst Reduction (SCR), Catalyst | Mitsubishi Power | For MPW supplied Air Cooled SCR
Standby Diesel Generator | Cooper Power Systems
Standby Diesel Generator | Kohler
Standby Diesel Generator | Detroit Diesel
Standby Diesel Generator | Western Engine
Standby Diesel Generator | Caterpillar
Standby Diesel Generator | Cummins
Steam Bypass and Desuperheater Valves | See Valves, Severe Service Control Valves
Steam Traps | Bestobell Steam Traps
Steam Traps | Armstrong
Steam Traps | Spirax Sarco USA
Steam Traps | Yarway Corp.
Steam Turbine Generator | Toshiba
Steam Turbine Generator | Mitsubishi-Hitachi
Strainers | Armstrong
Strainers | Fluid Engineering
Strainers | Spirax Sarco USA
Strainers | Yarway Corp.
Strainers | Eaton Hayward
Strainers | Islip Flow Controls
Strainers | Midstates/Midco Supply Co.
Strainers | Wolseley/Ferguson
Strainers | Hellan
Strainers | Mueller
Strainers | Sure Flow Equipment Inc.
Strainers, Automatic Backwash | R.P. Adams
Strainers, Automatic Backwash | Sure Flow Equipment Inc.
Strainers, Automatic Backwash | Fluid Engineering
Strainers, Automatic Backwash | Hellan
Structural Steel | AFCO
Structural Steel | Blum Enterprises
Structural Steel | Cives
Structural Steel | Hirschfeld
Structural Steel | Merril Iron
Structural Steel | Pax Fab
Structural Steel | Paxton Vierling
Structural Steel | Paxton Vierling
Structural Steel | Qualico
Structural Steel | Schuff Steel Company
Structural Steel | SteelFab
Structural Steel | Structural Steel Services
Switch (69 - 230kV) | Southern States
Switch (69 - 230kV) | USCO
Switch (69 - 230kV) | PASCOR
Switch (69 - 230kV) | Royal
Switch (345 - 500kV) | Southern States
Switch (345 - 500kV) | PASCOR
Switch - Motor Operators | Southern States
Switch - Motor Operators | S&C
Tanks, Field Erected | Caldwell Tanks
Tanks, Field Erected | Chattanooga Boiler and Tank
Tanks, Field Erected | Fisher Tank
Tanks, Field Erected | National Steel Erectors
Tanks, Field Erected | Pittsburgh Tank
Tanks, Field Erected | Tank Connections
Tanks, Shop Fabricated Steel | Cembell Industries
Tanks, Shop Fabricated Steel | Accelerated
Tanks, Shop Fabricated Steel | Arrow Tank
Tanks, Shop Fabricated Steel | CH Murphy
Tanks, Shop Fabricated Steel | Chattanooga Boiler and Tank
Tanks, Shop Fabricated Steel | Dixie Southern (Triple S&P)
Tanks, Shop Fabricated Steel | Modern Welding
Tanks, Shop Fabricated Steel | PDM
Tanks, Shop Fabricated Steel | RECO
Tanks, Shop Fabricated Steel | Tampa Tank
Tanks, Shop Fabricated Steel | Titan Fabricators
Tanks, Shop Fabricated Steel | Highland Tank
Thermocouples/Thermowells | Gulf Sensors
Thermocouples/Thermowells | Alloy Engineering
Thermocouples/Thermowells | ARI Industries
Thermocouples/Thermowells | Claude S.Gordon
Thermocouples/Thermowells | Emerson
Thermocouples/Thermowells | JMS Southeast
Thermocouples/Thermowells | Minco
Thermocouples/Thermowells | PYCO
Thermocouples/Thermowells | Thermo-Electric
Thermocouples/Thermowells | Weksler
Thermocouples/Thermowells | John H. Carter
Thermocouples/Thermowells | Pinnacle Controls
Transformers, Main & Generator Step-Up (GSU) | ABB | No India Manufacturer
Transformers, Main & Generator Step-Up (GSU) | EFACEC
Transformers, Main & Generator Step-Up (GSU) | Fortune
Transformers, Main & Generator Step-Up (GSU) | HICO
Transformers, Main & Generator Step-Up (GSU) | SMIT
Transformers, Main & Generator Step-Up (GSU) | TBEA
Transformers, Main & Generator Step-Up (GSU) | GE - Prolec | Waukesha only. No Mexico Manufacturer
Transformers, Main & Generator Step-Up (GSU) | Hyundai
Transformers, Main & Generator Step-Up (GSU) | Siemens | No Mexico Manufacturer
Transformers, Main & Generator Step-Up (GSU) | Hitachi
Transformers, Main & Generator Step-Up (GSU) | Mitsubishi
Transformers, Unit Auxiliary | PTTI
Transformers, Unit Auxiliary | Waukesha
Transformers, Unit Auxiliary | Siemens
Transformers, Unit Auxiliary | ABB
Transformers, Unit Auxiliary | GE
Transformers, Unit Auxiliary | HICO
Transformers, Unit Auxiliary | Hyundai
Transmitters | Schneider Electric (Foxboro)
Transmitters | Rosemount Analytical (Emerson)
Transmitters | Endress & Hauser
Transmitters | Yokogawa
Traveling Screens | Atlas
Traveling Screens | Eimco Water Technologies
Traveling Screens | Screening Systems, international (SSI)
Traveling Screens | Siemens Water Technologies
UPS System & Batteries | Alcad
UPS System & Batteries | Ametek Solidstate Controls/SCI
UPS System & Batteries | Ash Battery
UPS System & Batteries | Benning
UPS System & Batteries | C & D Technologies
UPS System & Batteries | Custom Power Chloride
UPS System & Batteries | Cyberex (UPS & Chargers) | UPS & Chargers
UPS System & Batteries | Enersys
UPS System & Batteries | Exide for Batteries
UPS System & Batteries | Gutor/Schneider North America
UPS System & Batteries | HDR (Inverters) | Inverters
UPS System & Batteries | HM Cragg
UPS System & Batteries | Nolan Power Group
UPS System & Batteries | Nolan Power Group
UPS System & Batteries | Powerware (UPS & Chargers) | UPS & Chargers
UPS System & Batteries | Weiss Instruments GNB (battery) | Batteries
Valves - Control Valves | Fisher Controls (Emerson)
Valves - Control Valves | SPX (Copes/Vulcan)
Valves - Control Valves | Flowserve | Flowserve is restricted from providing severe-duty control valves but may provide general-duty control valves.
Valves - Control Valves | Control Components Inc. (CCI)
Valves, General Service Control | Celeros (Copes/Vulcan)
Valves, General Service Control | Emerson (Fisher)
Valves, General Service Control | Flowserve | Flowserve is restricted from providing severe-duty control valves but may provide general-duty control valves.
Valves, General Service Control | IMI CCI
Valves, General Service Control | KOSO
Valves, Severe Service Ball | Emerson (Fisher)
Valves, Severe Service Ball | Mogas
Valves, Severe Service Ball | ValvTechnologies
Valves, Severe Service Ball | Bray
Valves, Severe Service Ball | Cameron
Valves, Severe Service Control | Celeros (Copes/Vulcan)
Valves, Severe Service Control | Emerson (Fisher)
Valves, Severe Service Control | IMI CCI
Valves, Severe Service Control | KOSO
Valves, Steam Bypass and Desuperheater | Control Components Inc. (CCI)
Valves, Steam Bypass and Desuperheater | Fisher Controls (Emerson)
Valves, Steam Bypass and Desuperheater | Pentair
Valves, Steam Bypass and Desuperheater | SPX (Copes/Vulcan)
Valves, Steam Bypass and Desuperheater | Weir Valves & Controls
Valves, Steam Bypass and Desuperheater | Yarway Corp.
Water Treatment System | SAMCO
Water Treatment System | Aquatech International
Water Treatment System | Evoqua
Water Treatment System | Graver Technologies
Water Treatment System | Progressive Water Treatment
Water Treatment System | Suez / GE Water & Process Technologies
Water Treatment System | Veolia
Water Treatment System | US Water

## Status
Approved | Supplier is available for use for specified equipment subject to any restrictions or clarification stated.
Inactive | Supplier has been removed from the equipment category and is not available for use for reasons stated in the comments.
Pending | Under Review - Not available for use
REJECTED | Supplier is rejected for the specific equipment cateogry and cannot be used for the reasons stated in the comments.
J. Charboneau/C. Clanton
K. Pollock/C. Clanton
C. Ruiz/J. Rees
Review Team
Not Required

## Revisions
Rev # | Date | Description of Update | Person Updating | Approved by
1 | 2022-08-03 | Hard-filter Renewables out of Power BI list but leave on this Master spreadsheet for future incorporation if needed; submitted request to Zan Yang by e-mail | N.Parker | R. Fluth N. Pressler J. Rees
2 | 2022-08-03 | Change status of ST and GT generators to rejected on AVL. The selection of the generating technology is driven by higher level strategic requirements for the project and is based on available proven technology at the time the project is developed that meets those requirements. This is worked at a much higher level in project development. | N.Parker | N. Pressler
3 | 2023-01-30 | Added Gas Compressor Suppliers - both approved and rejected | N.Parker | K. Pollock C. Clanton
4 | 2023-09-26 | Added two new valve companies per approved forms and also recategorized the valve classifications per Nick Pressler and Phillip Martinez request | N.Parker | K. Pollock C. Clanton
5 | 2024-01-02 | Updated for various equipment based on evaluations performed for Legend which also applied to the Master list | N.Parker | K. Pollock C. Clanton
6 | 2024-06-17 | Shanna updated list to include SPG as an approved vendor for condensers | S. Singleton-Dietsch
7 | 2024-09-01 | The Sept. 2024 changes were generated from a clean up of old vendor/supplier names, addition of MPWA as OEM for Aircooled SCRs and their assoc. catalyst, etc. (resulting from Lone Star EPA AVL review). These were considered administratie changes | N.Parker | T. Sarver N. Parker
8 | 2025-11-06 | November 2025 changes reverted back to an earlier version to clean up from a sorting error. Added back Cresent Power Systems which had previously been added - the only intended change from previous update. Added Dry-Type Reactors supplier as new approved supplier. | J. Murty | K. Pollock C. Clanton
9 | 2025-11-13 | Added Dry-type reactor supplier | J. Murty | K. Pollock C. Clanton